## Materials
Bill of Materials and Pricing (Construction Materials) |  |  |  |  | DATE:
Project Name: | USAID HRS Generators Installation - NHSU |  |  |  | REVISION #:
Subcontractor:
Currency Rate:
Cost of Estimate: | 0 | UAH |  |  | 1 | UAH
| 0 | USD |  |  | 0.025 | USD
Duration of Works: |  | Calender Days
No. p/n | Name of the product | Unit of measure | Unit Price, UAH | Quantity | Total Price, UAH | Total Price, USD
1 | Cables VVGng-LS 4x185 mm2 | 1000 m | 0 |  | 0 | 0
2 | Concrete curly paving slabs, thickness 70 mm, concrete V30 [M400] [MP3200] | m2 | 0 |  | 0 | 0
3 | Diesel fuel from low-sulphur oils | t | 0 |  | 0 | 0
4 | Cable (N)HXH-FE180/E90-O 4X185 RM-0,6/1 kV | 1000 m | 0 |  | 0 | 0
5 | Individual structural elements of buildings and structures [columns, beams, trusses, braces, transoms, risers, etc.] with a preference for thick plate steel, average weight of the assembly unit up to 0.5 tonnes | t | 0 |  | 0 | 0
6 | Crushed natural stone for construction work, fraction 20-40 mm, grade M1000 and larger | mЗ | 0 |  | 0 | 0
7 | Plate PAG-18 | m2 | 0 |  | 0 | 0
8 | Sand-cement mix | mЗ | 0 |  | 0 | 0
9 | Cable coupling up to 1 kV, core length not less than 1 m, with pressurisation tips, for general use EK-3-01-H-FR-(45-68)-(4x185) | pcs | 0 |  | 0 | 0
10 | Cable KVVGEng-LS 14x1,5 mm2 | 1000 m | 0 |  | 0 | 0
11 | Galvanised steel sheet, thickness 0.7 mm | t | 0 |  | 0 | 0
12 | Cable coupling up to 1 kV, core length not less than 1 m, with pressurisation tips, for general use ЕК-3-01-Н-(45-68)-(4х185) | pcs | 0 |  | 0 | 0
13 | Zn+PPL pole made of 80x80/2 mm profile pipe, L=3000 mm | pcs | 0 |  | 0 | 0
14 | Swing gates made of 2D Zn+PPL mesh (2030x6000 mm), frame – 60x40x2.0 mm profile tube, (including the cost of Zn+PPL metal poles made of 100x100/3 mm profile pipe, L=3000 mm – 2 pcs, latches for fixing the gate leaves – 2 pcs, gate stops – 2 pcs) | pcs | 0 |  | 0 | 0
15 | Welded panel 2D Zn+PPL 6/5/6 mm (2500x2030 mm), with cells 50x200 mm C1 | pcs | 0 |  | 0 | 0
16 | Railway rails, type R43, made of steel grade NB-61 | m | 0 |  | 0 | 0
17 | Cable VVGng-LS 5x6 mm2 | 1000 m | 0 |  | 0 | 0
18 | Impregnated sleepers for wide gauge track, cut and uncut conifers [other than larch], type I | pcs | 0 |  | 0 | 0
19 | Single solid silicate brick, dimensions 250x120x65 mm, grade M150 | 1000 pcs | 0 |  | 0 | 0
20 | Large stripped steel bars, 10-12 mm thick, made of steel grade St3sp | t | 0 |  | 0 | 0
21 | Cable VVGng-LS 3x1,5 mm2 | 1000 m | 0 |  | 0 | 0
22 | Crushed natural stone for construction work, fraction 40-70 mm, grade M1000 and larger | mЗ | 0 |  | 0 | 0
23 | Side stones, BR100.20.8 | pcs | 0 |  | 0 | 0
24 | LED luminaire for outdoor installation type DSP77V-50-112 U1 | pcs | 0 |  | 0 | 0
25 | Cable coupling up to 1 kV, for connecting two cables, for general use ESk-(5x16) | pcs | 0 |  | 0 | 0
26 | LED luminaire for outdoor installation type DSP77V-50-111 U1 | pcs | 0 |  | 0 | 0
27 | Cable coupling up to 1 kV, for connecting two cables, for general use ESk-(5x2.5) | pcs | 0 |  | 0 | 0
28 | Ready-mixed concrete mixes, heavy, concrete grade R20 [M 250], granularity of filler is 20-40 mm, frost resistance grade | mЗ | 0 |  | 0 | 0
29 | Cable VVGng-LS 5x35 mm2 | 1000 m | 0 |  | 0 | 0
30 | Cable coupling up to 1 kV, for connecting two cables, for general use ESk-(5 хЗ5) | pcs | 0 |  | 0 | 0
31 | Cable VVGng-LS 5 x16 mm2 | 1000 m | 0 |  | 0 | 0
32 | Ready-mixed concrete mixes, heavy, concrete class B15 [M200] granularity of the filler is more than 10 to 20 mm | mЗ | 0 |  | 0 | 0
33 | Cable coupling up to 1 kV, for connecting two cables, for general use ESk-(5х25) | pcs | 0 |  | 0 | 0
34 | Natural, ordinary sand | mЗ | 0 |  | 0 | 0
35 | Swing gates made of 2D Zn+PPL mesh (2030 x1000 mm), frame – 60x40x2.0 mm profile tube with lock | pcs | 0 |  | 0 | 0
36 | Cable VVGng-LS 5x25 mm2 | 1000 m | 0 |  | 0 | 0
37 | Outdoor lighting control box, hinged in a metal case, 500x500x250 mm, 380/220 V, In.=25A, IP54 | pcs | 0 |  | 0 | 0
38 | Vegetation land | mЗ | 0 |  | 0 | 0
39 | Cable coupling up to 1 kV, for connecting two cables, for general use ESk-(5 х10) | pcs | 0 |  | 0 | 0
40 | Cable coupling up to 1 kV, the length of the cores is at least 1 m, with tips for pressurisation, for general use ЕК-3-01-H-(21-28)-(5х16) | pcs | 0 |  | 0 | 0
41 | Cable coupling up to 1 kV, for connecting two cables, for general use ESk-(5х6) | pcs | 0 |  | 0 | 0
42 | Cable coupling up to 1 kV, the length of the cores is at least 1 m, with tips for pressurisation, for general use ЕК-3-01-H-(29-44)-(5х35) | pcs | 0 |  | 0 | 0
43 | Ready-mixed heavy cement mortar, grade M100 | mЗ | 0 |  | 0 | 0
44 | Cable VVGng-LS 3x1,5 mm2 | 1000 m | 0 |  | 0 | 0
45 | Galvanised strip for lightning protection W-40x4/ST (ant.1140041) | kg | 0 |  | 0 | 0
46 | Welded steel water and gas pipes with threads, black, standard non-galvanised, nominal bore diameter 80 mm, wall thickness 4 mm | m | 0 |  | 0 | 0
47 | Cable coupling up to 1 kV, the length of the cores is at least 1 m, with tips for pressurisation, for general use ЕК-3-01-H-(29-44)-(5х25) | pcs | 0 |  | 0 | 0
48 | Reinforced barbed tape Yogaza-Standard-600/5 EN 5-189 | m | 0 |  | 0 | 0
49 | Crushed natural stone for construction work, fraction 5[3]-10 mm, grade M1000 and larger | mЗ | 0 |  | 0 | 0
50 | V-shaped visor holder for barbed wire Zn+PPL made of 60x40x2.0 mm tube, L=500x500 mm | pcs | 0 |  | 0 | 0
51 | Hot-rolled reinforcing steel with a periodic profile, class A-III, diameter 12 mm | t | 0 |  | 0 | 0
52 | Stripped steel 40x4 mm | t | 0 |  | 0 | 0
53 | Double-foot cable staples for cables K731 | 100 pcs | 0 |  | 0 | 0
54 | Anticorrosive tape 356 50 (Art. No. 2360055) | m | 0 |  | 0 | 0
55 | Rechargeable portable lamp (lantern) A-C-O- "Luch-S"-239/12-ks/4.0-1.0 | pcs | 0 |  | 0 | 0
56 | Attachment of the SBB to the nozzle | pcs | 0 |  | 0 | 0
57 | Construction bolts with nuts and washers | t | 0 |  | 0 | 0
58 | Cable VVGng-LS 5x10 mm2 | 1000 m | 0 |  | 0 | 0
59 | Diesel engine oil M-10DM | t | 0 |  | 0 | 0
60 | Lead sheets, grade S0, normal accuracy, thickness 1.0 mm | t | 0 |  | 0 | 0
61 | Dowel-nail DGPSh 4.5x50 mm | 100 pcs | 0 |  | 0 | 0
62 | Power cable VVGng 3x2.5 mm2 | 1000 m | 0 |  | 0 | 0
63 | Power cable VVGng 5x2.5 mm2 | 1000 m | 0 |  | 0 | 0
64 | Galvanised rope wire, diameter 2.6 mm | t | 0 |  | 0 | 0
65 | POS-18 solder | t | 0 |  | 0 | 0
66 | Ready-mixed heavy concrete mixes, concrete grade V15 [M200], filler size is 10 mm or less | mЗ | 0 |  | 0 | 0
67 | Cartridges D a6o K long | 100 pcs | 0 |  | 0 | 0
68 | Cable VVGng-LS 5x2.5 mm2 | 1000 m | 0 |  | 0 | 0
69 | Electrodes, diameter 4 mm, grade E46 | t | 0 |  | 0 | 0
70 | Welded panel 2D Zn+PPL 6/5/6 mm (2200x2030 mm), with cells 50x200 mm | pcs | 0 |  | 0 | 0
71 | Welded panel 2D Zn+PPL 6/5/6 mm (1250x2030 mm), with cells 50x200 mm | pcs | 0 |  | 0 | 0
72 | Welded panel 2D Zn+PPL 6/5/6 mm (1080x2030 mm), with cells 50x200 mm | pcs | 0 |  | 0 | 0
73 | Welded panel 2D Zn+PPL 6/5/6 mm (800x2030 mm), with cells 50x200 mm | pcs | 0 |  | 0 | 0
74 | Bitumen varnish, grade BT-123 | t | 0 |  | 0 | 0
75 | Crushed natural stone for construction work, fraction 5-20 mm, grade M1000 and larger | mЗ | 0 |  | 0 | 0
76 | Forgings from square billets, weight 1.8 kg | t | 0 |  | 0 | 0
77 | "Sokol Professional" flexible corrugated pipe made of non-combustible PVC plastic, 32 mm diameter | m | 0 |  | 0 | 0
78 | Fibre optic cable FTTH-001-SM-01 | 1000 m | 0 |  | 0 | 0
79 | Enamel HV-110 white, grey | t | 0 |  | 0 | 0
80 | Water | mЗ | 0 |  | 0 | 0
81 | PND pipe, dia. 90 mm, KF 09090 UVFA | m | 0 |  | 0 | 0
82 | Digital time controller with astronomical programme for outdoor lighting REV-225 | pcs | 0 |  | 0 | 0
83 | Rubber paint "Skyline Rabber Flex" (grey-beige RAL 1019) | t | 0 |  | 0 | 0
84 | Z-shaped profile K-239 | 100 pcs | 0 |  | 0 | 0
85 | Ready-mixed heavy concrete mixes, concrete class V7.5 [M100], granularity of the filler is more than 10 to 20 mm | mЗ | 0 |  | 0 | 0
86 | Galvanised forgings from square billets, weight 2,825 kg | t | 0 |  | 0 | 0
87 | Double-claw staples K146P | 100 pcs | 0 |  | 0 | 0
88 | Ready-mixed cement finishing mortar 1:2 | mЗ | 0 |  | 0 | 0
89 | Roofing material AQUAIZOL | m2 | 0 |  | 0 | 0
90 | Hot-rolled reinforcing steel with a periodic profile, | t | 0 |  | 0 | 0
| class A-III, diameter 6 mm |  | 0 |  | 0 | 0
91 | Polyethylene tape with an adhesive layer, grade A | kg | 0 |  | 0 | 0
92 | Ready-mixed cement-limestone finishing mortar 1:1:6 | mЗ | 0 |  | 0 | 0
93 | Tin-lead solders without tin, in ingots grade POS30 | t | 0 |  | 0 | 0
94 | Individual structural elements of buildings and structures [columns, beams, trusses, braces, transoms, risers, etc.] with a preference for hot-rolled profiles, weight of the assembly unit over 0.1 to 0.5 tonnes | t | 0 |  | 0 | 0
95 | Double-foot cable staples for cables K729, K730 | 100 pcs | 0 |  | 0 | 0
96 | Mixture of lawn grass seeds | cent | 0 |  | 0 | 0
97 | PVC plug, diameter 110 mm | pcs | 0 |  | 0 | 0
98 | Zinc spray, 0.4 litres ZSF (Art. No. 2362970) | pcs | 0 |  | 0 | 0
99 | Plaster fibreglass mesh | m2 | 0 |  | 0 | 0
100 | Antiseptic wooden plugs 50x50x40 mm | pcs | 0 |  | 0 | 0
101 | Frost-resistant bitumen-oil mastic MB-50 | t | 0 |  | 0 | 0
102 | Terminal for ground clamps 927 SCH-K-VA (Art. No. 5057930) | pcs | 0 |  | 0 | 0
103 | Primer FL-03K brown | t | 0 |  | 0 | 0
104 | Self-tapping screws for fastening profiled decking and panels to load-bearing structures | t | 0 |  | 0 | 0
105 | Cable tips 1.5-4-2-M-UHL3 | pcs | 0 |  | 0 | 0
106 | Reinforced abrasive grinding discs, diameter 180x6 mm | pcs | 0 |  | 0 | 0
107 | PND pipe, diameter 40 mm, KF 09040 UVFA | m | 0 |  | 0 | 0
108 | Electrodes, diameter 4 mm, grade E55 | t | 0 |  | 0 | 0
109 | Tavot | kg | 0 |  | 0 | 0
110 | Ready-mixed heavy cement mortar, grade M25 | mЗ | 0 |  | 0 | 0
111 | Flexible copper wire | t | 0 |  | 0 | 0
112 | Pipe connection U-479 | 100 pcs | 0 |  | 0 | 0
113 | Cross connector for B40 strip C-024 (ant. 1202041) | pcs | 0 |  | 0 | 0
114 | Galvanised strip for lightning protection W-08/ST (ant. 1108001) | kg | 0 |  | 0 | 0
115 | Grounding jumper | pcs | 0 |  | 0 | 0
116 | Metal structures | t | 0 |  | 0 | 0
117 | Dowels with calibrated head [scattered] with zinc chromate coating 3x58.5 mm | t | 0 |  | 0 | 0
118 | Aviation petrol B-70 | t | 0 |  | 0 | 0
119 | Wall mount for powder fire extinguisher OP-5 (VP-5) | pcs | 0 |  | 0 | 0
120 | Insulating caps K-441, K-442 | 100 pcs | 0 |  | 0 | 0
121 | Self-tapping screw with metal drill bit 5.5x38 mm | pcs | 0 |  | 0 | 0
122 | Ceresit ST 17 primer with high penetration | t | 0 |  | 0 | 0
123 | Galvanised self-tapping screw M 6.3x19 | pcs | 0 |  | 0 | 0
124 | Electrodes. diameter 6 mm grade E42 | t | 0 |  | 0 | 0
125 | Solvent. grade R-4 | t | 0 |  | 0 | 0
126 | Sealing bushings | pcs | 0 |  | 0 | 0
127 | Warning poster | pcs | 0 |  | 0 | 0
128 | Hexagon socket head screw. galvanised. M6x16 DIN 912 | 1000 pcs | 0 |  | 0 | 0
129 | Plastic wire holder with screw H-015 (ant.1301059) | pcs | 0 |  | 0 | 0
130 | D40 strip holder. metal H-039 (Art. No. 1303092) | pcs | 0 |  | 0 | 0
131 | Semi-circular head screws, length 50 mm | t | 0 |  | 0 | 0
132 | Wire with a cross section of 16 mm2 PV3ng-LS | 1000 m | 0 |  | 0 | 0
133 | Marking tag | 100 pcs | 0 |  | 0 | 0
134 | Universal wire connector C-011 (ant. 1201011) | pcs | 0 |  | 0 | 0
135 | Galvanized single-foot metal staple SMM-32 (code 32090-SKaT) | pcs | 0 |  | 0 | 0
136 | Electrodes. 4 mm in diameter, grade E50A | t | 0 |  | 0 | 0
137 | Galvanised steel wire, 2 mm diameter | t | 0 |  | 0 | 0
138 | Soldering grease | kg | 0 |  | 0 | 0
139 | Grounding terminal for round and flat conductors 939 (Art. No. 5043107) | pcs | 0 |  | 0 | 0
140 | Tape for grounding clamps 927 BAND-VA (Art. No. 5057922) | m | 0 |  | 0 | 0
141 | Individual metal structures | t | 0 |  | 0 | 0
142 | Rags | kg | 0 |  | 0 | 0
143 | Pine rosin | t | 0 |  | 0 | 0
144 | Test connector for wire and strip S-034 (ant. 1203041) | pcs | 0 |  | 0 | 0
145 | Edged coniferous boards. length 4-6.5 m. width 75-150 mm. thickness 32,40 mm, grade IV | mЗ | 0 |  | 0 | 0
146 | Branch clamps U859 | 100 pcs | 0 |  | 0 | 0
147 | Propane-butane mixture | t | 0 |  | 0 | 0
148 | Construction staples | kg | 0 |  | 0 | 0
149 | Cold-formed corrosion-resistant steel seamless pipes. outer diameter 32 mm, wall thickness 2.00 mm | 10 m | 0 |  | 0 | 0
150 | LM assembly tape | 100 m | 0 |  | 0 | 0
151 | Coarse-grained roofing felt, grade TVK-350 | mЗ | 0 |  | 0 | 0
152 | Linen wool | pcs | 0 |  | 0 | 0
153 | Technical oxygen gas | mЗ | 0 |  | 0 | 0
154 | Stripped steel 20x3 mm | t | 0 |  | 0 | 0
155 | Canvas | m2 | 0 |  | 0 | 0
156 | Tension coupling K805 | pcs | 0 |  | 0 | 0
157 | Black corrugation clip, 32 mm diameter (APRO) (1 pack – 50 pcs.) | pack. | 0 |  | 0 | 0
158 | Cable tips 2.5-4-2.6-M-UHL3 | pcs | 0 |  | 0 | 0
159 | Dowels U658, U661 | 100 pcs | 0 |  | 0 | 0
160 | Cable tips 6-6-4-М-УХЛЗ | pcs | 0 |  | 0 | 0
161 | Rail fastening parts, fastening elements for hanging ceilings, pipelines, air ducts, embedded parts, fastening parts for wall panels, gates, frames, lattices, etc. weighing not exceeding 50 kg, with a preference for rolled sections, consisting of two or more parts, with or without holes to be joined by welding | t | 0 |  | 0 | 0
162 | N 40 channels made of hot-rolled carbon steel of ordinary quality, grade St0 | t | 0 |  | 0 | 0
163 | Technical propane-butane | mЗ | 0 |  | 0 | 0
164 | Single solid ceramic brick, dimensions 250x120x65 mm, grade M100 | 1000 pcs | 0 |  | 0 | 0
165 | Cable tips | 100 pcs | 0 |  | 0 | 0
166 | Electrodes, diameter 5 mm, grade E42A | t | 0 |  | 0 | 0
167 | Earring K1016 | 100 pcs | 0 |  | 0 | 0
168 | Dowels with DG spacer nut | 100 pcs | 0 |  | 0 | 0
169 | Cable tips 10-6-6-M-UHL3 | pcs | 0 |  | 0 | 0
170 | Branch clamps U734 | 100 pcs | 0 |  | 0 | 0
171 | Polyamide cable clamps, I=120 mm BMN1225 | pack. | 0 |  | 0 | 0
172 | Electrodes, diameter 2 mm, grade E42 | t | 0 |  | 0 | 0
173 | Socket, diameter 50-80 mm | 100 pcs | 0 |  | 0 | 0
174 | Galvanised rope wire, diameter 3 mm | t | 0 |  | 0 | 0
175 | Nylon cable clamp | pcs | 0 |  | 0 | 0
176 | Primer GF-021 red-brown | t | 0 |  | 0 | 0
177 | Low-carbon steel wire for various purposes light, diameter 1.1 mm | t | 0 |  | 0 | 0
178 | Straight short couplings [fittings] made of ductile iron with cylindrical thread, maximum nominal bore 65 mm | 10 pcs | 0 |  | 0 | 0
179 | Terminal block with 4 contacts, nominal voltage 450 V, current 32 A - PCT-414 (WAGO 221-104) | pcs | 0 |  | 0 | 0
180 | Holder K188 | 100 pcs | 0 |  | 0 | 0
181 | Galvanised hexagonal head bolts, diameter of thread 12-[14] mm | t | 0 |  | 0 | 0
182 | Semi-circular head screws, 5 mm diameter, length 70 mm | t | 0 |  | 0 | 0
183 | K227 button | 100 pcs | 0 |  | 0 | 0
184 | Ground talcum powder, grade 1 | t | 0 |  | 0 | 0
185 | Thermally shrinkable polyethylene tube made of black colour polyethylene TTY 20/10 | m | 0 |  | 0 | 0
186 | Impregnated hemp wire ropes | t | 0 |  | 0 | 0
187 | Polyisobutylene adhesive compound GIPK [ЕТЗК] | kg | 0 |  | 0 | 0
188 | Varnish, grade 177 | t | 0 |  | 0 | 0
189 | Cable tip, copper-tinned 16-6-ML (Art. No. 00000002812) | pcs | 0 |  | 0 | 0
190 | PVC pipes | t | 0 |  | 0 | 0
191 | Flat head construction nails 1.6x50 mm | t | 0 |  | 0 | 0
192 | Bushing V54, V59 | 100 pcs | 0 |  | 0 | 0
193 | Branch clamps U731, U733 | 100 pcs | 0 |  | 0 | 0
194 | Steel corner 50x50 mm | t | 0 |  | 0 | 0
195 | Technical water | t | 0 |  | 0 | 0
196 | Fuse for rated current 1A, voltage 500 V (AC) SN10x38 aM 1A/500 (Art. No. 2621000) | pcs | 0 |  | 0 | 0
197 | Assembly bolts with nuts and washers, strength class 10.9 | t | 0 |  | 0 | 0
198 | Cable sleeve, copper-tin-plated 16-ML (Art. No. 00000000160) | pcs | 0 |  | 0 | 0
199 | Thermally shrinkable polyethylene tube made of black colour polyethylene TTY 12/6 | m | 0 |  | 0 | 0
200 | Anticorrosive enamel PF-115, grey | t | 0 |  | 0 | 0
201 | Tin-lead solders, tin-free, in ingots, grade POS40 | t | 0 |  | 0 | 0
202 | Solid petroleum paraffin P-3 | t | 0 |  | 0 | 0
203 | Polyvinyl chloride tape for insulation of oil and gas pipelines PVC-BK [adhesive], thickness 0.4 mm | m2 | 0 |  | 0 | 0
204 | Bushing V69 | 100 pcs | 0 |  | 0 | 0
205 | Portland cement for general construction purposes without additives, grade 400 | t | 0 |  | 0 | 0
206 | Edged coniferous bars, length 4-6.5 m, width 75-150 mm, thickness 40-75 mm, grade I | mЗ | 0 |  | 0 | 0
207 | Flat head construction nails 3x70 mm | t | 0 |  | 0 | 0
208 | Petroleum xylene, grade A | t | 0 |  | 0 | 0
209 | Round tole nails 2.0x20 mm | t | 0 |  | 0 | 0
210 | Double strand rope, type TK, galvanised, made of wire grade B, marking group 1770 N/mm2, diameter 5.5 mm | 10 m | 0 |  | 0 | 0
211 | Welded steel water and gas pipes with threads, black, lightweight galvanised, nominal bore diameter 50 mm, wall thickness 3 mm | m | 0 |  | 0 | 0
212 | Lead whitewash | t | 0 |  | 0 | 0
213 | Hexagonal head bolts, thread diameter 6 mm | t | 0 |  | 0 | 0
214 | Enamel KO-811 silicon-organic black | t | 0 |  | 0 | 0
215 | Chandelier clamp KL2.5 | 100 pcs | 0 |  | 0 | 0
216 | Enamel paint MO-1 | t | 0 |  | 0 | 0
217 | Power cables with polyvinyl chloride insulation with aluminium conductor, grade APV, cross-section 35 mm2 | 1000 m | 0 |  | 0 | 0
218 | Oil and alkyd thick-thinned paint for interior use MA-025 beige, light beige | t | 0 |  | 0 | 0
219 | Gypsum binders G-3 | t | 0 |  | 0 | 0
220 | Sicativ fused 64B | t | 0 |  | 0 | 0
221 | Varnish XB-784 | t | 0 |  | 0 | 0
222 | Edged coniferous beams, length 2-3.75 m, width 75-150 mm, thickness 100,125 mm, grade I | m3 | 0 |  | 0 | 0
223 | Cotton napkins | 10 m2 | 0 |  | 0 | 0
224 | Cement for mortar preparation in construction sites and in other similar cases | t | 0 |  | 0 | 0
225 | Heat shrinkable tube 16-8 mm, made of polyethylene, halogen-free, GE-HSTU-16/8 | m | 0 |  | 0 | 0
226 | Bushing V28 | 100 pcs | 0 |  | 0 | 0
227 | Double strand rope, type LK-R, uncoated, made of wire grade B, marking group 1570 N/mm2 and less, diameter 8.3 mm | 10 m | 0 |  | 0 | 0
228 | Bushing V22 | 100 pcs | 0 |  | 0 | 0
229 | Quartz vaseline paste | kg | 0 |  | 0 | 0
230 | Hot-rolled carbon steel plates of ordinary quality with cut edges, 9-12 mm thick, steel grade St3sp | t | 0 |  | 0 | 0
231 | Thick thinned oil paint for outdoor use MA-015 light beige | t | 0 |  | 0 | 0
232 | Hot-rolled wire rod in coils, diameter 6.3-6.5 mm | t | 0 |  | 0 | 0
233 | Flat head construction nails 1.8x60 mm | t | 0 |  | 0 | 0
234 | Construction staple K853 | 100 pcs | 0 |  | 0 | 0
235 | Marking end cap A671 | l00 pcs | 0 |  | 0 | 0
236 | Metal scrap (recycled material) | t | 0 |  | 0 | 0
237 |  |  | 0 |  | 0 | 0
238 | Power consumption of machines included in general production expenses |  | 0 |  | 0 | 0
239 | Petrol | kg | 0 |  | 0 | 0
240 | Electricity | kW-h | 0 |  | 0 | 0
241 | Compressed air | mЗ | 0 |  | 0 | 0
242 | Lubricants and oils | kg | 0 |  | 0 | 0
243 | Hydraulic fluid | kg | 0 |  | 0 | 0
|  |  |  | TOTAL | 0 | 0

## Equipment
Bill of Materials and Pricing (Equipment) |  |  |  |  | DATE:
Project Name: | USAID HRS Generators Installation - NHSU |  |  |  | REVISION #:
Subcontractor:
Currency Rate:
Cost of Estimate: | 0 | UAH |  |  | 1 | UAH
| 0 | USD |  |  | 0.025 | USD
Duration of Works: |  | Calender Days
No. p/n | Name of the product | Unit of measure | Unit Price, UAH | Quantity | Total Price, UAH | Total Price, USD
1 | Diesel generator in an all-weather noise-absorbing casing with a pallet, on a steel frame with anti-vibration supports, main mode power N = 200 kW (250 kVA), standby power N = 220 kW (275 kVA), voltage U = 400/230 V with Cummins QSL9-G5 engine in a complete with alternator; control panel; rechargeable battery, G275QS) | pcs | 0 |  | 0 | 0
2 | Floor cabinet prefabricated universal, one-sided service SHAVR, IP55, 2200 x 800 x 400 | pcs | 0 |  | 0 | 0
3 | Universal prefabricated floor cabinet, one-way service DG AVR, IP55, 2200 x 600 x 400 | pcs | 0 |  | 0 | 0
4 | Diesel fuel tank of a volume V = 1 m3 with a filler module included: - pump of capacity 70 l/min with bypass valve; - cleaning filter; - counter fuel consumption; - fuel filling gun with a rotary coupling; - pressure hose 15 m long; - suction suction hose; - drain valve; - filler nozzle; - drain valve for water drainage; - closed cabinet with a door for placing equipment in it | package | 0 |  | 0 | 0
5 | Hinged prefabricated universal cabinet, SHVP, lP55, 300 x 500 x 120 | pcs | 0 |  | 0 | 0
6 | Fire box for sand 0.5 m3 | pcs | 0 |  | 0 | 0
7 | Surveillance camera IPC2122LR3-PF40 | pcs | 0 |  | 0 | 0
8 | DH-PFS3106-4ET-60 switcher | pcs | 0 |  | 0 | 0
9 | Powder fire extinguisher OP-5 (VP-5) | pcs | 0 |  | 0 | 0
10 | Open type fire panel (without accessories) | pcs | 0 |  | 0 | 0
11 | Cover made of non-combustible thermal insulation material, size 2 x 2 m | pcs | 0 |  | 0 | 0
12 | Hinged cabinet 320 x 230 x 150 lP65 ATIS AB-BOX | pcs | 0 |  | 0 | 0
13 | Fire axe | pcs | 0 |  | 0 | 0
14 | Fire hook | pcs | 0 |  | 0 | 0
15 | Fire scrap | pcs | 0 |  | 0 | 0
16 | Optolink SFR-WDM-SM-0203B optical module | pcs | 0 |  | 0 | 0
17 | Optolink SFR-WDM-SM-0203A optical module | pcs | 0 |  | 0 | 0
18 | Bayonet fire shovel | pcs | 0 |  | 0 | 0
19 | Scoop type fire shovel | pcs | 0 |  | 0 | 0
20 | Fire safety sign "Fire extinguisher" 150 x 150, material self-adhesive film ORACAL | pcs | 0 |  | 0 | 0
21 | Junction box for open wiring 114 x 114 x 57 mm (T60 Art. 2007061) | pcs | 0 |  | 0 | 0
|  |  |  | TOTAL | 0 | 0