ANNEX 3. General construction work on the repair of window and door openings of the Redkivskyi Lyceum of the Novobilouska Village Council of the Chernihiv District of the Chernihiv Region

| № | Name of works and expenses | Unit of measurement | Quantity |
| --- | --- | --- | --- |
| 1 | Dismantling of doorways with ready-made door blocks up to 2 m2 in area of ​​metal-plastic in stone walls | 100м2 | 0,0185 |
| 2 | Dismantling of doorways with ready-made door blocks with an area of ​​over 2 to 3 m2 made of metal-plastic in stone walls | 100м2 | 0,0466 |
| 3 | Dismantling of doorways with ready-made door blocks with an area of ​​more than 3 m2 made of metal-plastic in stone walls | 100м2 | 0,0938 |
| 4 | Dismantling of window openings with ready-made blocks up to 2 m2 in area of ​​metal-plastic in stone walls of residential and public buildings | 100м2 | 0,0432 |
| 5 | Dismantling of window openings filled with ready-made blocks with an area of ​​more than 3 m2 made of metal-plastic in stone walls of residential and public buildings | 100м2 | 0,162 |
| 6 | Dismantling plastic window sills | 100м | 0,126 |
| 7 | Filling doorways with ready-made door blocks with an area of ​​up to 2 m2 made of metal-plastic in stone walls | 100м2 | 0,0185 |
| 8 | Filling doorways with ready-made door blocks with an area of ​​over 2 to 3 m2 made of metal-plastic in stone walls | 100м2 | 0,0466 |
| 9 | Filling doorways with ready-made door blocks with an area of ​​more than 3 m2 made of metal-plastic in stone walls | 100м2 | 0,0938 |
| 10 | Filling window openings with ready-made blocks with an area of ​​up to 2 m2 of metal-plastic in stone walls of residential and public buildings | 100м2 | 0,0432 |
| 11 | Filling window openings with ready-made blocks with an area of ​​more than 3 m2 made of metal-plastic in stone walls of residential and public buildings | 100м2 | 0,162 |
| 12 | Installation of plastic window sills | 100м | 0,126 |
| 13 | Repair of plastic windows | шт | 3 |
| 14 | Installation of slope cladding with polystyrene foam with adhesive fastening | 100м2 | 0,285 |
| 15 | Installation of slope cladding with gypsum plasterboard and gypsum fiber sheets with adhesive fastening | 100м2 | 0,285 |
| 16 | Sand-free covering of slope surfaces with adhesive gypsum mortar [type "satin gypsum"] with a layer thickness of 1 mm when applied in 2 coats | 100м2 | 0,285 |
| 17 | Sand-free covering of slope surfaces with adhesive gypsum mortar [type "satin gypsum"], add or remove 0.5 mm thick layer for each layer | 100м2 | 0,285 |
| 18 | Priming wall surfaces with ST-17 primer | 100м2 | 0,285 |
| 19 | Improved painting with polyvinyl acetate water-based emulsion mixtures of slopes on prefabricated structures prepared for painting | 100м2 | 0,285 |