PR Catalogue

Individual First Aid Kit – IFAK.

Quantity Required – 15 Kits.

Kits MUST Include the Following:

- Lightweight, Durable First Aid Bag.

- Molle design with rip-away panel for easy access.

- RED Colour preferred.

- Non-Sterile Examination Gloves.

- Nitrile Gloves Preferred.

- BLUE Colour Preferred.

- 3 Pairs Per Kit.

- Combat Application Tourniquet.

- 2 PER KIT.

- TQ-Dnipro Gen 2, CAT Gen 7 or SICH are the only acceptable brands.

- Orange Colour Preferred.

- Permanent Marker.

- Sharpie or Equivalent Quality.

- RED or BLACK ink preferred.

- 1 Per Kit.

- High Quality Paramedic Shears.

- 14 cm total length at a minimum.

- Emergency Trauma Bandage 4” – with Mechanical Advantage.

- Preferably not OLAES bandage.

- 1 Per Kit.

- Emergency Trauma Bandage 6” – with Mechanical Advantage.

- Preferably not OLAES bandage.

- 1 Per Kit.

- Haemostatic Gauze – Z-Fold.

- QuickClot Combat Gauze preferred, but local analogues are acceptable.

- Not Single Napkins – 7.62cm x 3.66m Required.

- 1 Per Kit.

- Sterile Compressed Gauze – Z-Fold.

- 1 Per Kit.

- Occlusive Chest Seal – Combination Pack.

- Includes 1x Vented and 1x Non-Vented Chest Seal.

- Beacon Preferred.

- 1 Per Kit.

- Elastic Crepe Bandage – 75mm.

- 1 Per Kit.